## Slide 1
HPHC ANALYSIS OF SIBERIA AND BULL DOG MODERN ORAL NICOTINE POUCH PRODUCTS
Manoj Misra, Ed Carmines and Lise Fraissinet
Chemular Inc, Hudson MI, USA
Poster # 15
ABSTRACT
STUDY DESIGN AND METHODS
The testing was conducted at Labstat International Inc., Kitchener, Ontario, Canada. Labstat facility is ISO/IEC 17025 certified.
REFERENCES
RESULTS
CONCLUSIONS
The HPHC analysis of the Siberia and Bull Dog pouch products demonstrated the following:
The carbonyl compounds (acetaldehyde and crotonaldehyde), metal (cadmium, arsenic), nitrosamine compounds (NNK and NNN) and B(a)P were either not detected or below limits of quantitation.
The detected non-significant very low levels of formaldehyde levels were significantly below the CalEPA NSRL, ASTDR-Minimum Risk Levels (MRL) or the Derived No Effect Level (DNEL; general population) presenting minimal chronic risk to the consumers.
Compared to the FDA authorized oral products (Verve Products-PMTA and and General Suns Products-MRTP) and broad market sampling of modern oral nicotine products, SSA pouch products yield lower or similar levels of HPHCs.
Based on the adapted ELCR assessment for oral products and the qualitative risk management descriptors for concern, it can be concluded that the detected formaldehyde levels in the tested products are of “lower concern” and thus pose a lower risk alternative to cigarettes and are unlikely to raise toxicological concerns regarding cancer risk.
FDA guidance is intended to assist in submitting premarket tobacco product applications (PMTAs) under section 910 of the FD&C Act which include reporting of HPHCs in tobacco and nicotine products and tobacco smoke under section 904(a)(3) of the FD&C Act. The Swedish Smokeless Solutions AB (SSS) product brands, Siberia and Bulldog Pouches, are made by mixing synthetic nicotine with flavors, sweetener, carriers, and pH modifiers. The use of these products is similar to snus. The FDA has not defined an appropriate list of HPHCs for products of this type (belong to Category Other and Subcategory Other). In the absence of guidance, SSS has chosen to follow the required list for portioned smokeless tobacco products. Among tested HPHCs, acetaldehyde, crotonaldehyde, metals, TSNAs levels were either not detected or below quantitative limits. A non-significant level of formaldehyde was found in Siberia and Bulldog products. The estimated daily exposure levels of formaldehyde and arsenic was compared with the oral no significant risk levels (NSRL) by OEHHA-Cal-EPA and minimum risk level (MRL) by ASTDR and the Derived No Effect Level (DNEL) by ECHA. The calculated potential daily exposure of formaldehyde for the SSA products was 2.3-8.6 fold below Cal EPA NSRL, 806-2998 fold below ASTDR-MRL and 17-61 fold below DNEL exposure limit. The HPHC excess lifetime cancer risks (ELCR) of the SSA products were zero for all of the products compared to currently FDA authorized Marketing Granted Order products of 118 for ENDS products and 10,000 for Kentucky 1R6F reference cigarette. In conclusion, insignificant HPHC yields, significant lower exposure potential and negligible lifetime cancer risk, indicate that the SSS products do not pose a significant risk to the consumers.
HPHC ANALYSIS
78th TSRC Conference 2025, Knoxville, TN, USA
ASTDR - MRL: Agency for Toxic Substances and Disease Registry MINIMAL RISK LEVELS (MRLs). (https://wwwn.cdc.gov/tsp/MRLS/mrlslisting.aspx)
Azzopardi et al. (2022) Chemical characterization of tobacco-free “modern” oral nicotine pouches and their position on the toxicant and risk continuums, Drug and Chemical Toxicology, 45:5, 2246-2254.
Cal EPA-NSRL, Office of Environmental Health Hazard Assessment (OEHHA). Proposition 65 No Significant Risk Levels (NSRLs) and Maximum Allowable Dose Levels (MADLs). Oct 27, 2023. (https://oehha.ca.gov/proposition-65/general-info/current-proposition-65-no-significant-risk-levels-nsrls-maximum)
Danielson Timothy L. et al. Evaluation of Novel, Oral Tobacco-Derived Nicotine Products for HPHCs. 72nd TSRC. (https://sciences.altria.com/-/media/Project/Altria/Sciences/presentations/2/2018-TSRC-Danielson-Verve-HPHC-Final-20180910.pdf)
ECHA-DNEL: European Chemical Agency. Information on Chemicals (ECHA). https://www.echa.europa.eu/information-on-chemicals.
FDA 2014. Estimated HPHC Intakes from Snus Consumption – Comparison with Dietary Intakes or Smoking. (https://www.accessdata.fda.gov/Static/widgets/tobacco/MRTP/20%20appendix-6c-environ%20hphc%20report%202014_Redacted.pdf)
FDA internal memorandum from Almamun et al. to file entitled, Calculating Excess Lifetime Cancer Risk in ENDS Premarket Tobacco Applications (June 3, 2024) (“June 3, 2024, Memorandum”).
Jablonski, J.J. et al. (2022) Market Survey of Modern Oral Nicotine Products: Determination of Select HPHCs and Comparison to Traditional Smokeless Tobacco Products. Separations, 9, 65.
Jaccard et al. (2019) “Mainstream Smoke Constituents and in Vitro Toxicity Comparative Analysis of 3R4F and 1R6F Reference Cigarettes.” Toxicology Reports 6:222–31. (https://doi.org/10.1016/j.toxrep.2019.02.009)
OEHHA 2011. “Formaldehyde.” Text. 2011. https://oehha.ca.gov/chemicals/formaldehyde.
SSS POUCH PRODUCTS
HPHC ANALYSES
METHOD SPECIFIC LOD AND LOQ FOR HPHC CONSTITUENTS
HPHC ANALYSIS
COMPARATIVE CALCULATED DAILY FORMALDEHYDE EXPOSURE AND EXPOSURE LIMITS
COMPARATIVE HPHC LEVELS WITH MARKET COMPARATORS
BDL: Below detection limit ; BQL: Below quantitative limit
* The calculated daily exposure based on 10 nicotine pouch/day consumption
ELCR (Excess Lifetime Cancer Risk): Formaldehyde
SSS Pouch Products | Target Nicotine (mg/pouch)
Siberia All White Regular Portion | 28
Siberia All White Slim Portion | 21
Siberia All White Mini Portion | 18
Siberia All White Long Portion | 30
Bull Dog Canvas Extreme White Portion | 25
Bull Dog Canvas Cold Extreme White Portion | 25
HPHC Class | HPHC Constituents | Unit | SIBERIA ALL WHITE MINI PORTION |  | SIBERIA ALL WHITE REGULAR PORTION |  | SIBERIA ALL WHITE SLIM PORTION |  | SIBERIA ALL WHITE LONG PORTION | 
 |  |  | Mean | SD | Mean | SD | Mean | SD | Mean | SD
Carbonyls | acetaldehyde | µg/pouch | BDL | BDL | BQL | BQL | BDL | BDL | BDL | BDL
 | crotonaldehyde | µg/pouch | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
 | formaldehyde | µg/pouch | 1.02 | 0.15 | 1.06 | 0.08 | 0.543 | 0.079 | 1.08 | 0.12
Metals | arsenic | ng/pouch | BQL | BQL | BQL | BQL | BQL | BQL | BQL | BQL
 | cadmium | ng/pouch | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
PAH | benzo(a)pyrene | ng/pouch | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
TSNA | NNK | ng/pouch | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
 | NNN | ng/pouch | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
PH | pH | pH unit | 9.59 | 0.03 | 9.43 | 0.03 | 9.57 | 0.02 | 9.36 | 0.02
HPHC Class | HPHC Constituents | Unit | Canvas Extreme White Portion |  | Canvas Cold Extreme White Portion | 
 |  |  | Mean | SD | Mean | SD
Carbonyls | Acetaldehyde | µg/pouch | BDL | BDL | BDL | BDL
 | Crotonaldehyde | µg/pouch | BDL | BDL | BDL | BDL
 | Formaldehyde | µg/pouch | 1.20 | 0.18 | 2.02 | 0.25
Metals | Arsenic | ng/pouch | BQL | BQL | BQL | BQL
 | Cadmium | ng/pouch | BDL | BDL | BDL | BDL
PAH | Benzo(a)pyrene | ng/pouch | BDL | BDL | BDL | BDL
TSNA | NNK | ng/pouch | BDL | BDL | BDL | BDL
 | NNN | ng/pouch | BDL | BDL | BDL | BDL
SIBERIA POUCH PRODUCTS
BULL DOG POUCH PRODUCTS
Products | Products & Exposure Limits | Unit | Formaldehyde |  |  | 
 |  |  | Calculated Daily Exposure* | Fold Below Exposure Limits |  | 
 |  |  |  | CalEPA-NSRL | ASTDR - MRL | ECHA-DNEL
Siberia Products | Siberia All White Mini Portion | µg/day | 10.2 | 4 | 1596 | 33
 | Siberia All White Regular Portion | µg/day | 10.6 | 4 | 1536 | 31
 | Siberia All White Slim Portion | µg/day | 5.43 | 7 | 2998 | 61
 | Siberia All White Long Portion | µg/day | 10.8 | 4 | 1507 | 31
Exposure Limit Values | CalEPA-NSRL | µg/day | 40 |  |  | 
 | ASTDR - MRL | µg/day | 14,000 |  |  | 
 | ECHA-DNEL | µg/day | 287 |  |  | 
Products | Products & Exposure Limits | Unit | Formaldehyde |  |  | 
 |  |  | Calculated Daily Exposure* | Fold Below Exposure Limits |  | 
 |  |  |  | CalEPA-NSRL | ASTDR - MRL | ECHA-DNEL
Bull dog Products | Bulldog Canvas Extreme White Portion | µg/day | 12.00 | 3 | 1166 | 24
 | Bulldog Canvas Cold Extreme White Portion | µg/day | 20.20 | 2 | 693 | 14
Exposure Limit Values | CalEPA-NSRL | µg/day | 40 |  |  | 
 | ASTDR - MRL | µg/day | 14,000 |  |  | 
 | ECHA-DNEL | µg/day | 287 |  |  | 
Products | Formaldehyde |  |  |  |  | 
 | µg (Pouch or Cig.) | Daily Usage (Pouch or Cig.) | Daily Exposure (µg/day) | ELCR*** | ELCR: % of Formaldehyde in 1R6F | Concern Level to 1R6F (<1.0%)***
Siberia All White Mini Portion | 1.02 | 10 | 10.2 | 0.00111 | 0.00111 | Lower Concern
Siberia All White Regular Portion | 1.06 | 10 | 10.6 | 0.00116 | 0.00115 | Lower Concern
Siberia All White Slim Portion | 0.543 | 10 | 5.43 | 0.00059 | 0.00059 | Lower Concern
Siberia All White Long Portion | 1.08 | 10 | 10.8 | 0.00118 | 0.00117 | Lower Concern
1R6F - Formaldehyde | 104 | 20 | 2080 | 100.435* |  | 
1R6F Cigarette |  |  |  | ~10,000** |  | 
Products |  | Formaldehyde |  |  |  | 
 | µg (Pouch or Cig.) | Daily Usage (Pouch or Cig.) | Daily Exposure (µg/day) | ELCR*** | ELCR: % of Formaldehyde in 1R6F | Concern Level to 1R6F (<1.0%)***
Bulldog Canvas Extreme White Portion | 1.20 | 10 | 12.00 | 0.00131 | 0.00130 | Lower Concern
Bulldog Canvas Cold Extreme White Portion | 2.02 | 10 | 20.20 | 0.00221 | 0.00220 | Lower Concern
1R6F - Formaldehyde | 104 | 20 | 2080 | 100.435* |  | 
1R6F Cigarette |  |  |  | ~10,000** |  | 
Analysis Panel | Analytes | Replicates
Metals | arsenic; cadmium | 7
Nicotine | nicotine | 7
Carbonyls | acetaldehyde; crotonaldehyde; formaldehyde | 7
PAH | benzo(a)pyrene | 7
TSNA | 4-[methyl(nitroso)amino]-1-(3-pyridinyl)-1-butanone (NNK); N-nitrosonornicotine (NNN) | 7
pH | pH | 7
Analyte Name | Unit | LOD | LOQ
Acetaldehyde | µg/pouch | 0.031 | 0.102
Crotonaldehyde | µg/pouch | 0.036 | 0.120
Formaldehyde | µg/pouch | 0.044 | 0.145
Arsenic | ng/pouch | 3.51 | 11.7
Cadmium | ng/pouch | 4.12 | 13.7
B(a)P, Benzo(a)pyrene | ng/pouch | 0.033 | 0.111
NNK | ng/pouch | 1.13 | 3.76
NNN | ng/pouch | 0.739 | 2.46
Nicotine | µg/pouch | 4.8 | 16.0
* Calculated based on 1R6F HPHC yields, Jaccard et al. 2019; ** FDA internal memo, 2024; *** Oral slope factor 0.1092 mg/day (OEHHA 2011)